## Fitness_Check
HELIDECK FITNESS CHECK Unmanned Installations
Installation/Vessel:
Owner/Operator:
Date: |  |  | X
Name of Checker: |  |  | X
Notes | 1 2 | This checklist must be completed and returned to HCA every 6 months, starting from the date of last full helideck inspection carried out by HCA to ensure continuity of the current Helideck Certificate. (It is the responsibility of the Duty Holder / Owner / Operator to inform the HCA of any delays or remedial actions required) This audit is a sample only and thus does not guarantee the ongoing operability of the helideck or that the processes & procedures associated with safe helicopter operations are being adhered to in all instances. The audit relies on information and evidence provided by the installation/vessel operator and/or duty holder; HCA cannot vouch for the accuracy or completeness of the information provided.
Where items are missing or are unserviceable, state what actions have been taken and/or What Mitigations have been put in place.
No |  | Item |  | Remarks
1 |  | Met & Operational data
1.1 | • | Current Helicopter Operator
1.2 | • | Controlling platform (or Onshore Location)
1.3 | • | Automated Weather System - Wind Speed & Direction / Air Temperature & Dew Point / Pressure (QNH/QFE)
• All sensors serviceable - Yes/No
1.4 | • | Last Calibration date
1.5 | • | Shared system with other location - within 10nm
• Platform/System linked to Helimet - Yes/No
2 |  | Helideck Equipment
2.1 | • | Chocks - Type & Quantity
2.2 | • | Tie down straps/ropes - Type & Quantity
2.4 | • | Prohibited Landing Marker - 4 x 4m red flag with diagonal yellow cross
2.5 | • | Windsock
• Location(s)
• Condition
• Illumination & Serviceability
2.6 | • | Scales for baggage and freight
• Max weight, (lbs./kg)
• Last Calibration date
2.7 | • | Rescue Equipment boxes (as per CAP 437)
• Condition
• Location(s)
• Contents - As per checklist
2.8 | • | Protective Clothing
• Confirm sufficient for all helideck crew
• Is HLO easily identifiable from the HDA’s i.e. Hi-Vis jacket with HLO letters
• Condition
• Location(s)
3 |  | Helideck Surface
3.1 | • | Colour
3.2 | • | Condition - Cleanliness and Clarity of Markings
3.3 | • | Confirm last friction test date & result (Required on all decks regardless of net)
3.4 | • | Gutter & Down pipes - Clear
4 |  | Helideck Net (not required on an Approved Friction Surface)
4.1 | • | Type - Knotted / Threaded / Interlaced
4.2 | • | Confirm tie-down straps every 1.5m
4.3 | • | Condition & Tensioned correctly
5 |  | Perimeter Net
5.1 | • | Material - Plastic coated wire / Frictape / etc.
5.2 | • | Condition
5.3 | • | Confirm latest test results
6 |  | Access
11.1 | • | Locations - suitability
6.1 | • | Handrails
• Fixed / Foldable / Removable
• Conspicuous
6.2 | • | Safety notices - Location
7 |  | Obstruction Environment
7.1 | • | Landing Area - Maximum 25mm
7.2 | • | Confirm No Infringements of OFS & LOS.
7.3 | • | Temporary items on or close to the helideck
7.4 | • | Confirmation that all areas susceptible to downdraft have been identified and checks are in place to ensure ALL loose articles are secured prior to leaving the installation.
8 |  | Lighting
8.1 | • | Perimeter & Floodlights - All working
8.2 | • | Circle & H Lights all working
| • | Good drainage with No Pooling of water in C+H lights
8.2 | • | General lighting - All working
8.3 | • | Obstruction Marking and Lighting - Structures > 15m above deck level
All working - None flashing
8.4 | • | Status Lights - Confirm working
| • | Remote Reset functioning correctly
9 |  | Fire Fighting equipment
9.1 | • | Fixed Monitor / DIFF System - Serviceability
9.2 | • | Latest produced foam test report / certificate
9.3 | • | Last service date of portable AFFF, DP & CO2 extinguishers
10 |  | Helideck Crew
10.1 | • | Confirm all helideck teams are trained to OPITO standards, have in date certificates for:
• HLO Course • Emergency Heli Team Member • Radio Licence • DG by Air Awareness
11 |  | Dangerous Goods
11.1 | • | Qualified Personnel
• Nominated Persons (Shipper & Packer)
• Certificates expiry dates
Notes/Comments Add any additional comments including feedback to Helicopter Operators & HCA.
Signed: __________________________________
Date: ____________________________________
Position:__________________________________

## Helideck Crew Training Matrix
Helideck Crew & Heli-Admin Training
Installation:
NAME | HLO Course 2 yearly |  | HLO/HDA Fire Fighting 2 yearly |  | Radio Licence | Dangerous Goods Awareness Training 2 yearly |  | Refuelling
| Date | Expires | Date | Expires | Date | Date | Expires | Date
To be completed by the OIM/Master and kept up to date. It is to be made available, complete with supporting documentation, at any time when requested by a HCA inspector or a member of a National Aviation Authority. Note: All personnel involved on an installation/vessel with helicopter operations are to be appropriately qualified (i.e. all relative certificates are to be valid) and current in the exercise of their duties. On those installations/vessels where actual helicopter operations are infrequent it is the responsibility of the OIM/Master to ensure that sufficient training is carried out to compensate for any lack of actual operational experience.